## Result sheet
Method name: Method 1
Application: SparkControl |  |  |  | V2.2
Device: Spark |  |  |  | Serial number: 1712003047
Firmware: |  |  |  | LUM:V5.2.3¦ABS:V4.3.2¦ABS_MEX:V5.0.7¦CELL:V4.1.4¦MTP:V13.1.5¦FLUOR:V5.1.3¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦GCM:V3.0.2¦INJ:V3.1.1
Date: |  |  |  | 2022-09-08
Time: |  |  |  | 14:44
System |  |  |  | DESKTOP-SOD7HV6
User |  |  |  | DESKTOP-SOD7HV6\Paulina
Plate |  |  |  | [LUM96fb_Lumox] - Greiner 96 Flat Black Cat. No.: 96000024/96120096
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | Label 1
Name |  |  |  | LUM96fb_Lumox
Plate layout
Plate area |  |  |  | A1-H12
Mode | Fluorescence Top Reading
Name | Label 1
Excitation |  |  |  | Monochromator
Excitation wavelength |  |  |  | 485 | nm
Excitation bandwidth |  |  |  | 20 | nm
Emission |  |  |  | Monochromator
Emission wavelength |  |  |  | 535 | nm
Emission bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 142 | Optimal
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time |  |  |  | 40 | µs
Lag time |  |  |  | 0 | µs
Settle time |  |  |  | 0 | ms
Z-Position |  |  |  | 20000 | µm
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-H12
Start Time |  |  |  | 2022-09-08 14:42:58
Temperature |  |  |  | 28.5 | °C
[27 empty] | CT |  | 1% |  | 2.5% |  | 5%
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | CT |  |  | F127 1% |  |  | F127 2.5% |  |  | F127 5% |  |  |  | AVG | SD | AVG | SD | AVG | SD | AVG | SD
A | 10904 | 10835 | 10199 | 1116 | 948 | 780 | 806 | 793 | 864 | 843 | 855 | 754 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 100 | 0 | 100 | 0 | 100 | 0 | 100 | 0
B | 9706 | 15949 | 7865 | 949 | 946 | 832 | 870 | 846 | 900 | 808 | 911 | 767 | 0.1 | 89.0132 | 147.1989 | 77.1154 | 85.0358 | 99.789 | 106.6667 | 107.9404 | 106.6835 | 104.1667 | 95.8482 | 106.5497 | 101.7241 | 0.1 | 104.4425 | 37.5029 | 97.1638 | 11.0518 | 106.2635 | 1.9216 | 101.374 | 5.3594
C | 9859 | 8843 | 5558 | 921 | 1059 | 931 | 858 | 963 | 942 | 801 | 852 | 792 | 0.5 | 90.4164 | 81.6151 | 54.4955 | 82.5269 | 111.7089 | 119.359 | 106.4516 | 121.4376 | 109.0278 | 95.0178 | 99.6491 | 105.0398 | 0.5 | 75.509 | 18.7227 | 104.5316 | 19.4367 | 112.3057 | 8.0127 | 99.9022 | 5.0158
D | 21145 | 15803 | 17947 | 1317 | 1344 | 1212 | 984 | 984 | 1010 | 778 | 904 | 777 | 1 | 193.9197 | 145.8514 | 175.9682 | 118.0108 | 141.7722 | 155.3846 | 122.0844 | 124.0858 | 116.8981 | 92.2894 | 105.731 | 103.0504 | 1 | 171.9131 | 24.2893 | 138.3892 | 18.9152 | 121.0228 | 3.7095 | 100.3569 | 7.1141
E | 24335 | 23054 | 20626 | 1635 | 1444 | 1582 | 1003 | 1294 | 1175 | 908 | 903 | 818 | 2 | 223.175 | 212.7734 | 202.2355 | 146.5054 | 152.3207 | 202.8205 | 124.4417 | 163.1778 | 135.9954 | 107.7106 | 105.614 | 108.4881 | 2 | 212.728 | 10.4698 | 167.2155 | 30.9716 | 141.205 | 19.8866 | 107.2709 | 1.4866
F | 24323 | 22311 | 20327 | 1951 | 1598 | 2197 | 1103 | 1154 | 1260 | 993 | 1249 | 856 | 5 | 223.0649 | 205.916 | 199.3039 | 174.8208 | 168.5654 | 281.6667 | 136.8486 | 145.5233 | 145.8333 | 117.7936 | 146.0819 | 113.5279 | 5 | 209.4283 | 12.2637 | 208.351 | 63.5703 | 142.7351 | 5.1002 | 125.8011 | 17.6927
G | 36302 | 34536 | 32907 | 5495 | 4397 | 7010 | 1982 | 1903 | 2069 | 1220 | 1153 | 1078 | 10 | 332.9237 | 318.7448 | 322.6493 | 492.3835 | 463.8186 | 898.7179 | 245.9057 | 239.9748 | 239.4676 | 144.7212 | 134.8538 | 142.9708 | 10 | 324.7726 | 7.324 | 618.3067 | 243.2629 | 241.7827 | 3.5796 | 140.8486 | 5.2649
H | 49546 | 46539 | 43884 | 13508 | 15355 | 14700 | 3452 | 3203 | 3156 | 1755 | 1712 | 1744 | 20 | 454.3837 | 429.5247 | 430.2775 | 1210.3943 | 1619.7257 | 1884.6154 | 428.2878 | 403.9092 | 365.2778 | 208.1851 | 200.2339 | 231.2997 | 20 | 438.062 | 14.1401 | 1571.5785 | 339.6795 | 399.1583 | 31.7726 | 213.2396 | 16.1379
End Time |  |  |  | 2022-09-08 14:44:17